SPRING MOUNTAIN RANCH

MAINTENANCE REPORT – OCTOBER 2009

October 5 – Pick up trash at dumpster area

October 5 – Water leaking through drywall in ceiling in gym area. Found to be  the AC unit froze up and leaking. A-1 Heating repaired/replaced a part, Left ceiling open to dry out. Will close back up.

October 9 – Haul pool cover to pool. Dismantle and store pool furniture in storage unit off property. 

October 13 – Haul old wood furniture set to the dump.

October 16 – Replaced 2 light bulbs in stair well in ranch house. Replaced fireplace remote batteries. Repair toilet in men’s rest room.

October 20 – Picked up garbage from 1325 Bitterroot yard. Owner of property to be billed.

October 20 – Picked up garbage from 1255 Bitterroot yard. Owner of property to be billed.

October 26 – Remove and store tennis court nets.

