SPRING MOUNTAIN RANCH 

MAINTENANCE REPORT – MAY 2009

May 7 – Distribute mosquito dunks, place 100

May 7 – Cleaned out garbage area.

May 12 – Cleaned out garbage area again, and picked up trash from yard area. Removed leaves from under deck, store ice melt buckets for summer.

May 13 – Haul patio furniture out of storage, place at pool. Assemble new patio furniture and place at pool. Repair wood table. Repair broken padlock on storage.

May 14 – Performed general maintenance at Ranch House, purchasing and placing proper furniture pads and disks on furniture legs to protect wood floor, purchase and replace various light bulbs, fluorescent bulbs, ballast. Repair couch leg, picture frame, re-glue molding on kitchen floor. Repair broken tile in men’s bath.

May 19 – Replace security gate posts (pool area), coordinate with May security to re-set security hardware, bust up concrete around old post. 

Repaired lower gate to stairway storage area. Repaired electric box, place new locks on storage cabinets downstairs.

May 20 – Investigate leak in pipes in women’s gym bathroom, floor is wet. Replace batteries in all air freshener’s in restrooms, replace spray in men’s bath, ladder needed. 

May 22 – Move pool cover to storage, Install bolts on steel pool furniture, repair knobs on bbq.

May 23 – E-Call – Sprinklers not shutting off, Pool area very wet, shut down, repaired 3 broken sprinkler heads.

May 26 – Dumpster over flowing again, pick-up trash from yard area and hauled excess to dump.

Also had the carpets cleaned in the Ranch House. Will be having the windows done soon. 

Had two hazardous trees removed from pool area.

