MAINTENANCE REPORT
SMR – FEBRUARY 2009
January 30 – Jacuzzi pump leaking, water all over floor, filled up Jacuzzi, cleaned up mess, reported to McCall pool & spa service, pump repaired. 

February 5 – Heat tape not working at northwest part of roof, reported by Hearthstone, cleared ice from rain gutters and started heat tape up again, because someone had unplugged them.  

February 18 – Place caution tape by back spa entrance to prevent entering lower level to gym. Very ice and dangerous even with ice melt.

February 18 – Jacuzzi pump leaking again, this time pump was replaced. 
