SPRING MOUNTAIN RANCH

MAINTENANCE REPORT

DECEMBER 2009

December 2 – Move helium bottle from the furnace room to the office. Checked the sauna floor for grout peeling.

December 7-10 -  Re-source sealer for the sauna, re-seal grout, place heaters to dry, vacuum out area. Had to coordinate with Hearthstone housekeepers.

December 9 – Met with May security and Rob Mattos to re-set alarm code. Re-started both fireplaces, changed the batteries in the remotes and adjusted flames and tested okay. 

December 14 – Hearthstone reported a leak in the women’s dressing room. Inspected and found possible condensation on the duct work. Placed fan to dry, and re-checked for a few days. Found no leak. Consulted with a contractor to verify no leaks present. Checked Men’s dressing room as well.

December 17 – Purchase and replace dimmer switch in main living room. 

December 30 – Many complaints about the heat to low in ranch house. Went out to adjust heat. 

December 31 – Hearthstone reported broken lock in hallway supply cabinet, repaired lock and moved water delivery to water storage area.

December 1 – 31 – More work on SMR lights. Still waiting for parts for Bellflower light.

