MAINTENANCE REPORT

SMR – JANUARY 2009

January 12 – Cleared Snow away from Junction box at street light for the electrician to repair. (Tractor and hand removal)

January 12 – Shipley electric repairs to light pole at Ranch House: Wiring “Not” in conduit as expected. Previous contractor used direct burial romex. Installed weather resistant splice box at end of existing exposed wiring. Filled new under ground flex conduit with silicone to keep out water. Installed schedule 80 conduit up to light. NOTE: This splice box is not “water proof”, and it will not keep water out if submerged, however it is water resistant.

January 14 – Cleared ice from old rain gutters above deck.

January 26 – Received an e-mail from Curtis at Hearthstone, regarding a missing door knob at the ranch house, the dressing room/pool door. Sent May hardware over to replace handle and lock mechanism. 

Investigated through the access card program in the office and found the responsible party to be Mr. Coman of 1027 Fireweed. Called Mr. Coman to find out details, turned out to be his son, Will Coman. Will Coman called the office the next day, and apologized for tearing off the door handle. Promised he would pay for the repair. It seems Mr. Coman did not realize what time it was, as he was soaking in the hot tub, and was locked out. He panicked and tore off the door handle. 

Spoke to Mr. Coman on February 5 to inform him of the total of the repair, Mr. Will Coman informed me he will be sending a check today.

January 28 – Installed weather resistant outdoor clock by the spa area.

